## gen
Generator Number | Location (Bus) | Capacity (MW) | Minimum (MW) | Cost ($/MW)
1 | 1 | 600 | 0 | 20
2 | 2 | 600 | 0 | 10
3 | 4 | 600 | 0 | 30
4 | 5 | 900 | 0 | 50

## line
1 | 1 | 5 | 0.1 | -10 | 10000 | Line Number | From Bus | To Bus | Reactance (x) | Capacity (MW)
2 | 1 | 2 | 0.1 | -10 | 10000 | 1 | 1 | 5 | Please see the description of the problem | 300
3 | 2 | 3 | 0.1 | -10 | 10000 | 2 | 1 | 2 | Please see the description of the problem | unlimited
4 | 3 | 4 | 0.1 | -10 | 10000 | 3 | 2 | 3 | Please see the description of the problem | unlimited
5 | 4 | 5 | 0.1 | -10 | 10000 | 4 | 3 | 4 | Please see the description of the problem | unlimited
[6 empty] | 5 | 4 | 5 | Please see the description of the problem | unlimited

## bus
Bus Number | Load (MW)
1 | 0
2 | 0
3 | 900
4 | 300
5 | 600

## PTDF
Line Num | From Bus | To Bus | X | B | Bbr | Line 1 | Line 2 | Line 3 | Line 4 | Line 5
1 | 1 | 5 | 0.1 | -10 | Line 1 | -10 | 0 | 0 | 0 | 0
2 | 1 | 2 | 0.1 | -10 | Line 2 | 0 | -10 | 0 | 0 | 0
3 | 2 | 3 | 0.1 | -10 | Line 3 | 0 | 0 | -10 | 0 | 0
4 | 3 | 4 | 0.1 | -10 | Line 4 | 0 | 0 | 0 | -10 | 0
5 | 4 | 5 | 0.1 | -10 | Line 5 | 0 | 0 | 0 | 0 | -10 | [5 empty] | 25
20
X |  |  |  |  | A | Bus 1 | Bus 2 | Bus 3 | Bus 4 | Bus 5 | A | Bus 1 | Bus 2 | Bus 4 | Bus 5 | 16
0.1 |  |  |  |  | Line 1 | 1 |  |  |  | -1 | Line 1 | 1 | 0 | 0 | -1 | 20
[5 empty] | Line 2 | 1 | -1 |  |  |  | Line 2 | 1 | -1 | 0 | 0 | 81
[5 empty] | Line 3 |  | 1 | -1 |  |  | Line 3 | 0 | 1 | 0 | 0
[5 empty] | Line 4 |  |  | 1 | -1 |  | Line 4 | 0 | 0 | -1 | 0
[5 empty] | Line 5 |  |  |  | 1 | -1 | Line 5 | 0 | 0 | 1 | -1
[5 empty] | B | Bus 1 | Bus 2 | Bus 3 | Bus 4 | Bus 5 | B | Bus 1 | Bus 2 | Bus 4 | Bus 5
[5 empty] | Bus 1 | -20 | 10 | 0 | 0 | 10 | Bus 1 | -20 | 10 | 0 | 10
[5 empty] | Bus 2 | 10 | -20 | 10 | 0 | 0 | Bus 2 | 10 | -20 | 0 | 0
[5 empty] | Bus 3 | 0 | 10 | -20 | 10 | 0 | Bus 4 | 0 | 0 | -20 | 10
[5 empty] | Bus 4 | 0 | 0 | 10 | -20 | 10 | Bus 5 | 10 | 0 | 10 | -20
[5 empty] | Bus 5 | 10 | 0 | 0 | 10 | -20
[5 empty] | Bbr*A | [5 empty] | PTDF | Bus 1 | Bus 2 | Bus 4 | Bus 5
[5 empty] | -10 | 0 | 0 | 10 |  |  | Line 1 | 0.4 | 0.2 | -0.2 | -0.4 |  | 0.4 | 0.2 | -0.2 | -0.4
[5 empty] | -10 | 10 | 0 | 0 |  |  | Line 2 | 0.6 | -0.2 | 0.2 | 0.4 |  | 0.6 | -0.2 | 0.2 | 0.4
[5 empty] | 0 | -10 | 0 | 0 |  |  | Line 3 | 0.6 | 0.8 | 0.2 | 0.4 |  | 0.6 | 0.8 | 0.2 | 0.4
[5 empty] | 0 | 0 | 10 | 0 |  |  | Line 4 | -0.4 | -0.2 | -0.8 | -0.6 |  | -0.4 | -0.2 | -0.8 | -0.6
[5 empty] | 0 | 0 | -10 | 10 |  |  | Line 5 | -0.4 | -0.2 | 0.2 | -0.6 |  | -0.4 | -0.2 | 0.2 | -0.6

## Sheet1
Nahum, Carlos Maldonado, Ivan Ocon, -Victor Chavira, Cesar Gonzalez,
Carlos Cobos, Travis, Inez, Luis Hernandez